Sr No …………

Date ………….

Tender Document

For the

Supply and Fixing of Street Light Octagonal GI Poles at

Central Verge with underground cabling, fixtures

Complete on

Haridwar Road Central Verge/Median,

Rispana Bridge to

Haridwar Road From Respana Bridge to Shastri Nagar (Jogi wala) Dehradun.

Cost of the Tender Document Rs. 1000.00+135.00 Service Tax

Cost of the work Rs. 33,11,354.00

(A  City)

Nagar Nigam, Dehradun

PARTICULARS OF THE TENDERS

1.Particular of the Work                     	Supply and Fixing of Street Light with poles at central Verge with under ground cabling 250 watts sodium fixtures complete in all respects on  Central Verge, from Rispana Bridge to Shastri Nagar, (Jogi wala) Haridwar Road, Dehradun with two years free maintenance guarantee.

2. Period of supply and fixing 	      		2 months

2. Cost of Tender Form	     	Rs. 1000.00+135.00 (as Service Tax)

3. Earnest Money	     	Rs. 67,000.00

FDR/ CDR/ NSC/ BG (BANK GUARANTEE) WILL BE PLEDGED IN THE NAME OF ACCOUNT OFFICER, NAGAR NIGAM, DEHRA DUN

5. Date& time for getting tender document 	 28-01-2014 (10 AM to 5PM)  to  14-02-2014   1.00 PM

6. Date & time of Submission of tender		15-02-2014.   3.00 PM

7. Date of Opening of Technical Bid 		15-02-2014 .   4.00 PM

8. Date of Opening of Financial Bid		To be informed later

9. Place of Opening of Tender  			Executive Engineer,

Nagar Nigam, Dehradun.

10. Period of Validity of Tender	 2 Months	------------------------------------------------

11. Name and Address of the firm to whom	---------------------------------------------------

tender document is issued			-----------------------------------------------

Executive Engineer

Nagar Nigam, Dehra dun.

PRE QUALIFICATION, TECHNICAL BID AND FINANCIAL BID REQUIRMENTS

Supply and Fixing of Street Light with poles at Central Verge with underground cabling, 250watt sodium fixtures complete in all respects on , Rispana Bridge to Shastri Nagar,(Jogi wala) Haridwar Road, Dehradun.

The tenderer/bidder should give a detailed technical proposal and financial proposal for the above detailed work complete in all respect. The financial/commercial bid shall be opened only after approval of technical bid from the Nagar Nigam Dehradun.

All the bids shall be examined and evaluated first technically and as per the past experience of similar nature work, financial capability and others relevant factors related to street light poles and fixtures. Details to be provided with the technical bid:-

Tenders/RFP are invited from the reputed, capable, efficient and experience firms/ organization/ PSU’s/ contractors registered in Central/State Govr departments/ undertakings to supply and erection of street light on Rispana Bridge to Shastri Nagar, (Jogi wala) Haridwar Road, Dehradun (total Two years of free warranty and operation period) of the said work.

Pre requisite/ Pre qualification for the tender

1.	Earnest Money of Rs. 67000-00 in the form of NSC/ FDR/ Bank Guarantee for 24 months extendable as and when required in the name of Account Officer, Nagar Nigam, Dehradun.

2.	If form is down loaded from the web site, cost of tender form of Rs. 1000.00
+ 135.00 as Service Tax in the form of bank draft in the name of Account Officer Nagar Nigam, Dehradun should be deposited with the tender form/bid.

3.	Income tax registration with PAN card copy.

4.	Sales/trade tax registration number

5.	Labour department registration or any other statutory registration (Electrical Safety Directorate) required.

6.	Affidavit with the detail that the firm/ bidder have not been black listed from any government, semi government, organization due to default.

7.	Registration from Electrical Safety Inspectorate, Uttarakhand.

8.	Turnover for three years, minimum of Rs. One crore per year.

TECHNICAL BID

(Details to be provided with the technical bid)

Minimum Technical Specification for the Fixture of 250Watt Sodium.

1.	Mounting Height 9 mts above G.L.

2.	Pole Spacing 20 mts.

3.	Road Width	 8.00 mts

4.	Make of 250Watt Sodium fitting  Philips,  Bajaj,  Havels,  Crompton.

5. 	 Category ” AA” approved by Uttarakhand PWD, Electrical/ Mechanical Div, Dehradun

ENVELOPS TO BE USED FOR “TECHNICAL-BID” AND “FINANCIAL/ COMMERCIAL-BID” AND MODE OF SUBMISSION

Separate two sealed envelopes should be used one for “Technical Bid” Envelop-A, and one for “Financial/ Commercial Bid”, Envelop-B, and all the two envelopes A, and B  are to be kept in a bigger enveloped, which is to be sealed at the time of submission. Open envelopes are liable to be canceled. Envelops must be addressed to Executive Engineer, Nagar Nigam, Dehradun.

Tender can be submitted to the Nagar Nigam , Dehradun or Public Works Department office before the stipulated date and time. Tender can be submitted by Registered Post or Speed Post or Courier Services or by hand to the Tender box/ Street Light Section, Nagar Nigam, Dehradun before the stipulated date and time. After the stipulated date and time 15-02-2014 upto 3 PM ,the tender will not be considered. Delay due to postal services will be the liability of the bidder/ tenderer.

Only the rates or “Financial Bid” of such supplier/ bidder shall be opened or considered, those who will qualify in the “Technical Bid”.

TIME FRAME FOR EXECUTION OF SUPPLY AND FIXING OF STREET LIGHT (WITH TWO YEARS FREE MAINTENANCE GUARANTEE)

- After getting the intimation from Nagar Nigam to the lowest bidder, required stamp paper and other formalities for signing contract are to be completed in all respect within one week.

- For the required execution of project required NOC’s are to be arranged by the bidder, for the above reasonable support can be given by the Nagar Nigam, Dehradun.

- The total time given for the contract work shall be two months (2 months) which includes all the activities related to tendered work, including the required NOC’s. In ordinary condition it is not extendable, but due to some unforeseen reasons and natural calamity the extension may be granted after receiving a request letter. The above period includes the rainy and all seasons.

- After completion of work, the officers/ engineers of the Nagar Nigam/ or the prescribed committee will check all the installed and fixed items executed by you and after that completion certificate may be issued.

- For time over run, per day penalty may be imposed, which may be Rs. 200.00 per day after expiry of stipulated time for execution of work. Time over run may be exempted for the genuine reason, which are to be forwarded by engineers/ or prescribed authorized committee and that may/ may not be considered/ accepted by Mukhya Nagar Adhikari, Nagar Nigam, Dehradun.

- Warranty period shall start from the completion of work and handing over the facility to the public.

PAYMENT SCHEDULE

- 90% payment shall be released after completion of work and 10% shall be released after two years of completion of free guarantee period, after deducting the penalty due to delay in execution of work, fault in work if any, duly intimated time to time by both the parties.

- If bank guarantee/ FDR/ CDR/ NSC pledged in the name of Account Officer, Nagar Nigam , Dehradun of 10% of the amount, as described in above para one , is submitted in the office, the above 10% may be released after getting the proper report from the engineers/ EnC/ committee meant for this purpose.

- Total number of running bill should not be more than three in number i.e. one bill amount shall not be less than the 35% of the tendered amount.

## Time frame for the FREE maintenance FOR  two years.

- There must be a comprehensive maintenance warranty of 24 months from the date of completion of work/ handing over to Nagar Nigam, Dehradun.

- For the two years during the warranty period, after written report from Nagar Nigam about manufacturing defect to your authorized technical person, for every day delay in correcting it will cost Rs. 50.00 per day. Under the definition of warranty the manufacturing defect/faults liability shall be there with all the items fixed in the executed work. Including all poles, wires, fixtures, switches, brackets, etc complete in all respect and even the smallest fault is considered to be covered.

- After the first and second year of free warranty period any repairs, as required by the site/ reported by Nagar Nigam engineers/ representatives, is to be rectified by tenderer immediately. All machines, spares and labours are to be arranged by the tenderer.

- First and second year there shall be warranty for all the items fixed, executed, installed by the firm/ tenderer/ bidder. But for free maintenance one person/ expert for electrical works should be deputed for entire contract period (two years).

- During the free maintence period (two years) for delay in rectifying the faults, as reported by Nagar Nigam, Dehradun, per day delay charges will be Rs. 50.00 per day per fixture.

- Due to some accident if there is some damage to the street light system, the repair work shall be executed by the tender immediately. Payemnt shall be made as per the rate decided by the Uttarakhand Procument Policy 2008.

OTHER CONDITIONS

- Nagar Nigam, Dehradun has a right to reduce or increase the requirement of the above work, numbers of items and even can cancel the tender at any time without assigning and reason.

- Nagar Nigam, Dehradun has a right to change, substitute, and delete any item, their specification, and quantity in the interest of the development works.

- The proposed supply shall be as per the detailed given by Nagar Nigam, Dehradun and if any details are further required then Power Corporation/Uttarakhand PWD E/M/ BIS specifications/ relevant codes/ CPWD or DSR will be referred.

- If required then regular test or required tests are to be performed, from National Test house, Ghaziabad/ Regional I .I .T Roorkee/ UPES, Dehradun/ any Govt Approved Lab.

- Before execution of work the tenderer should examine the road stretch for taking the power connection, required letter/ request letter shall be issued by the Nagar Nagar, Dehradun as and when required.

- Before release of final payment for all electrical items, poles, switches, fixtures, etc proper NOC’s are to be obtained from the competent authority i.e. Electrical Safety Inspectorate, Uttarakhand/ Power Corporation, Dehradun.

- As per request of Nagar Nigam, Dehradun, connection shall be taken in the name of Nagar Nigam, Dehradun,  bidder should deposit the actual fee in the respective department (i.e. UPCL/ Electrical Safety Inspectorate, Dehradun/ PWD for road cutting charges) for the quick execution and function of project, but these fees/ charges shall be reimbursed to the bidder subsequently from the Nagar Nigam, Dehradun.

- During the execution the bidder shall be responsible for safety and insurance of their staff, contracted workers, daily wages if engaged. Any labour law, insurance, safety related laws, all applicable law of land are to be followed by the bidder. For any violation the bidder shall be held responsible in all respect.

- The decision of Mukhya Nagar Adhikari, Nagar Nigam, Dehradun shall be final and binding on all. For any type of dispute the arbitrator shall be Mayor, Nagar Nigam, Dehradun.

- An affidavit should be submitted with the tender, related to authorized signatory/ lead member, for single window interface between Nagar Nigam and bidder.

From :   	………..………

………………..

………………..

………………..

To,

Executive Engineer,

Nagar Nigam, Dehradun

SUB:- Submission of tender in response to tender notice for Street Light system supply and fixing with complete 2 years of free maintenance period.

Sir,

We hereby submit our offer for the above mentioned tender, we have examined the nature, details and specifications of the supply and fixing of Street Light with poles, under ground cabling, fixtures, switches, etc complete in all respect on Haridwar Road Central Verge, Rispana Bridge to Shastri Nagar, (Jogiwala) Haridwar Road , Dehradun and have carefully noted and instructions and conditions mentioned in the tender document. The complete tender document is being submitted in original issued by Nagar Nigam, Dehradun to us/ down loaded from web site. Tender document are enclosed in sealed envelopes “A”,and “B”, as instructed in the tender document.

Place:-

Date:-					        ( Signature of the tenderer)

Name:- …………………

Address:-……………….………………………….

City:-……………………

Cell No:-………………...

e-mail:- …………………

INSTRUCTIONS TO THE TENDERER AND TERMS AND CONDITIONS

(A)-	EARNEST MONEY AND VALIDITY OF TENDER

1.	Each tender shall be accompanied by the requisite Earnest money (Rs. 67000.00) in the form of FDR or NSC/BG in favour of Account Officer Nagar Nigam, Dehradun.

2.	Without requisite earnest money tender is liable to be disqualified.

3.	Earnest money shall be retained up to expiry of the contract period.

(B)-        CASTING AND OPENING OF TENDER

- The tender should be neatly written, preferably typed. Every page of the tender document should be signed with seal. The rated must be quoted in words also.

- Nagar Nigam, Dehradun reserves the right to reject any or all the tenders or accept any tender, after analyzing technical bid and financial bid, in total or in parts of work may be decided among various tenderer, without assigning and reason.

Nagar Nigam has a right to change the date of opening of technical and/or financial bid at any time.

- All information must be in English and figures must in MKS system.

The tender must give

The Name,

Detailed address of office with pin code

Phone numbers land and Mobile Numbers

E- mail, Web-site

- The representative should bring the authorization letter from the tenderer having representative’s attested signature (This details is compulsory to ensure the maintenance within the stipulated time)

- The detailes of the Lead member/ head of the institution responsible for execution.

- Any approach/ undue pressure by any firm shall render the tender liable to be rejected.

- Any tender if deviates from terms and conditions and technical specifications specified in the tender document shall be liable to be rejected.

- On acceptance of the tender, the tenderer will be required to execute an agreement which will be treated as contract for the tendered work on non judicial stamp paper of required value, as per GO’s provisions.

- For above a non judicial stamp paper of Rs. 100.00 should be attached with the tender document.

- If tenderer fails to sign the agreement within the stipulated specified period of 7 days from date of confirmation of the lowest bidder, its Earnest Money shall be forfeited by the Nagar Nigam, Dehradun.

- The tendering firm/ company should be registered under the relevant statues by the relevant competent authority. The firm must attach attested copies of the Registration Certificate and partnership deed/ Memorandum of Association as the case may be.

- The tender price will be inclusive of all taxes and duties, i.e. central, state and local taxes and should be quoted in schedule B format.

- Specifications are given in Schedule B. But if any tenderer wishes to supply and fix the items of better specification, that shall be permitted but after the approval, in the interest of proper operation and maintenance of 2 years.

- Conditional tender will not be accepted and shall be summarily rejected.

- For operation and maintenance, the bidder shall also be responsible for giving training and exposure to two related officers/ engineers/ line man/ staff of Electrical section, Nagar Nigam Dehradun.

CREDEBILITY

The bidder must give an affidavit that he has not been or is not black listed from any Government or Semi Government Department. If at any stage it is found that the credentials given by the bidder are not correct or manipulative or false, it may lead to disqualification and black listing.

The MNA, Nagar Nigam, Dehradun/ Executive Engineer, NND may ask to the tenderer/ tenderers to show the samples of items proposed to be used for the execution of the work.

Nagar Nigam, Dehradun

Price Bid(Schedule—B)

Name of Work:- Provision of Street Lights & Octagonal poles at Central Verge on Haridwar Road, Rispana Bridge to Shastri Nagar,Jogi wala Haridwar Road, Dehradun with underground cabling/line.

(The rates must be inclusive of two years free replacement guarantee)

| S.No | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply & fixing of steel octagonal pole of existing plinth with all accessories 09 mtr along double and triple bracket. | Each | 44 |  |  |
| 2 | Construction of plinth0.6x0.6x1.5 mts with shuttering & RCC in all respect. | Each | 44 |  |  |
| 3 | S/F of Factory wired sodium vapour street light luminaries single pice cast aluminum body suitable for 250 watt SV lamp complete in al respects si no 487 (a)IP 66. | Each | 92 |  |  |
| 4 | Supply & Leying of aluminum conductor PVC insulated armored,served sheathed cable 1100V grade at a depth of 750mm of theak sand and of top.onsurface of cable shall be fixed on MS clamp etc of suitable size or as directed by EIC. Completed in al respect.The Armouring of the cable shall be properly connected with the conductor by clamps etc(Cat A)(Sch No 5101) |  |  |  |  |
| a | 3.5X25 sqmm | Mtr | 1200 |  |  |
| b | 3.5X95 sqmm | Mtr | 100 |  |  |
| 5 | S/F of flat/pin type cable socket(lug)Aluminum at the cable end |  |  |  |  |
| a | 25 sqmm (Sch No5108(e) | Each | 352 |  |  |
| b | 95 sqmm (Sch No5108(i) | Each | 8 |  |  |
| 6 | S/F of brass nickle tin plated compression gland with rubber ring etc. Complete in all respect(MR) |  |  |  |  |
| a | 25 sqmm | Each | --- |  |  |
| b | 95 sqmm | Each | 2 |  |  |
| 7 | S/B of 600x600x6 mm GI plate vertically for ear thing with its top at least 3.0 m below ground level complete in all respect(PS No i-7+i-3-5 | Each | 12 No |  |  |
| 8 | S/L of DWC pipe 65 mm dia | Mtr | 1000 |  |  |
| 9 | S/F of copper wire 1.5 mm with proper connection. | Mtr | 968 |  |  |
| 10 | S/F of following capacity of automatic street light cubicle control panel painted with anticorrosive and acid proof paint consisting of timer switch TSO 100 series with contractor with HRS fuses TNP switches 4 pole 415 volt. 200 amps complete in all respect(MR), wiring should be done in such a way that the lights are automatically on and off in evening and morning respectively and ultimate lights are off automatically. | Each | 2 No |  |  |
| 11 | S/F of termination plate with 1 No. of 10 Amps SP- MCB 50 amps 3 Phase 4 wire connection terminal strip Insulated for 1100 volts for 25x3.5 core cable connection on bakelite plate of suitable size as required. | Each | 44 |  |  |

( Signature of the tenderer)

Name:- …………………

Address:-……………….……………

City:-……………………

Cell No:-………………...

e-mail:- …………………